System Breakdown

Top Level Block Diagram

Wristband Sub-System

User Device Sub-System

FlexType Model Sub-System

Software System

Requirements

Functional

- The wearable device shall operate in a low-power sleep mode when not in active use

- The EMG wristband shall convert the analog EMG signal into a digital signal

- The EMG and IMU sensors shall share signals wirelessly with the user’s device

- The gesture classification and word prediction models will run locally on the user’s device

- The final typed output may be compatible with text-to-speech

Operational

- The wearable device shall only read gestures when a user’s arm is in a certain position

- The EMG sensor shall read a user's gesture within a 1 second period

- The gesture model shall wait for the gesture that indicates a space or period to begin sending the saved data to the word prediction model

- The model shall include a “backspace” gesture for incorrectly typed words

- The model shall include a “swipe” gesture to update incorrectly predicted words

Performance

- The gesture classification algorithm shall have an accuracy of at least 90%

- The word prediction algorithm shall have an accuracy of at least 90%

Manufacturability

- The wearable device shall weigh no more than 50 grams

Reliability and Availability

- The battery life shall last at least 60 hours

- The gesture classification and word prediction models shall be operational on user demand

Environmental

- The system shall operate in the temperature range of 0°C to 50°C